## English
Parallel flow | [5 empty] | Project Type A： Cost Reduction /VAVE /Retrofit ✱ required fields
Counter flow | Client | Company |  |  |  | ✱ Baseline model of heat exchanger(s)
Others |  | Contact |  |  |  | Cost requirement
|  | Telephone |  |  |  | Pressure drop requirements on both sides | 两侧压降要求
|  | Email |  |  |  | Dimension requirements | 尺寸要求
|  | Website |  |  |  | Heat transfer capacity requirement | 换热能力要求
|  | Sales Engineer |  |  |  | Other requirements | 其它要求
|  | Telephone |  |  |  | ✱ Host unit type
|  | Email |  |  |  | ✱ Application field
|  | Website |  |  |  | ✱ Demand date for drawings
Project Type B： New Product Development
| Used as evaporator ✱ required fields |  |  | Used as condenser ✱ required fields |  |  |  | Used as other type of heat exchangers (such as economizer, cascade HEX, water to water HEX, etc.) ✱ required fields
|  | ✱ Flow direction |  |  | ✱ Flow direction |  |  |  | ✱ Flow direction
|  | ✱ Capacity |  |  | ✱ Capacity |  |  |  | ✱ Capacity
| Coolant | ✱ Inlet temperature | Fill in 3 out of 4 | Coolant | ✱ Inlet temperature |  | Fill in 3 out of 4 | Side to be cooled | ✱ Fluid type
|  | ✱ Outlet temperature |  |  | ✱ Outlet temperature |  |  |  | Inlet status
|  | ✱ Flow rate |  |  | ✱ Flow rate |  |  |  | Outlet status
|  | ✱ Coolant type |  |  | ✱ Coolant type |  |  |  | Flow rate
|  | Entering pressure (gauge) |  |  | Entering pressure (gauge) |  |  |  | Pressure drop requirements
|  | Pressure drop requirements |  |  | Pressure drop requirements |  |  | Side to be heated | ✱ Fluid type
| Refrigerant | ✱ Refrigerant type |  | Refrigerant | ✱ Refrigerant type |  |  |  | Inlet status
|  | ✱ Inlet quality | Fill in 1 out of 2 |  | ✱ Inlet superheat |  |  |  | Outlet status
|  | ✱ liquid temperature |  |  | ✱ Inlet saturated temperature |  |  |  | Flow rate
|  | ✱ Outlet saturated temperature |  |  | ✱ Outlet subcooling |  |  |  | Pressure drop requirements
|  | ✱ Outlet superheat |  |  | Mass Flow |  |  |  | Dimension requirements
|  | Mass Flow |  |  | Pressure drop requirements |  |  |  | Other requirements
|  | Pressure drop requirements |  |  | Dimension requirements |  |  |  | ✱ Host unit type
|  | Dimension requirements |  |  | Other requirements |  |  |  | ✱ Application field
|  | Other requirements |  |  | ✱ Host unit type |  |  |  | ✱ Demand date for drawings
|  | ✱ Host unit type |  |  | ✱ Application field
|  | ✱ Application field |  |  | ✱ Demand date for drawings
✱ Demand date for drawings
Note on C23: HZSS: mass percentage of vapor
Note on G23: HZSS: inlet temperature minus inlet saturated temperature
Note on C24: HZSS: entering expansion device
Note on G24: HZSS: i.e. condensing temperature
Note on C25: HZSS: i.e. evaporating temperature
Note on G25: HZSS: outlet saturated temperature minus outlet temperature
Note on C26: HZSS: outlet temperature minus outlet saturated temperature